## Slide 1: TAVR for Failing Bioprosthetic Surgical Valves: 5-year Outcomes of the PARTNER 3 Aortic Valve-in-Valve Registry
Chris Malaisrie, MD
Mayra Guerrero, MD and Alan Zajarias, MD
On behalf of the PARTNER 3 Aortic Valve-In-Valve Investigators

## Slide 2
Chris Malaisrie, MD
Consultation:
Edwards Lifesciences
Medtronic
Cryolife
Terumo Aortic
Speaker/honoraria:
Edwards Lifesciences
Cryolife
Atricure
Terumo Aortic
Research support:
Edwards Lifesciences
Medtronic
Cryolife
Terumo Aortic

## Slide 3
In the United States, AViV is currently approved for high risk patients
The PARTNER 3 AViV registry demonstrated no mortality and favorable hemodynamics at 1 year for low and intermediate risk patients who underwent TAVR for surgical BVF1
We are reporting 5-year outcomes of the SAPIEN 3 THV for low and intermediate risk patients with a failing surgical bioprosthesis
Background and Purpose
1. Malaisrie SC, Zajarias A, Leon MB, et al. Struct Heart. 2022;6:100077

## Slide 4
TAVR * (SAPIEN 3 THV)
Failed Surgical Aortic Bioprosthesis
Follow-up: 30 days, 6 months, and annually through 10 years
Primary Endpoint:
Composite of all-cause death and stroke at 1-year post-procedure
Low- or Intermediate-risk (STS < 8%)/TF Assessment by Heart Team
P3 AViV Registry Study Design
5-year follow-up:
Composite of all-cause death and stroke, rehospitalization, AV reintervention, echo parameters, valve durability, NYHA, KCCQ
* No balloon valve fracturing allowed

## Slide 5
Anatomic:
Severe regurgitation (> 3+) or stenosis of any other valve
Vascular anatomy not suitable for femoral access
Baseline ≥ moderate PVR
Increased risk of coronary obstruction
Prosthetic valve in the mitral position (exception: mitral rings)
Residual mean gradient >20 mmHg after SAVR
Severe LV dysfunction (LVEF < 30%)
Clinical:
Acute MI within 1 month or stroke/TIA within 90 days
Significant CAD requiring revascularization
Renal insufficiency (eGFR < 30 ml/min) and/or renal replacement Rx
Planned concomitant ablation for atrial fibrillation
Failing Surgical Aortic Bioprosthetic Valve
Stenosis ≥ moderate and/or insufficiency ≥ moderate
True internal diameter (ID) of 18.5 mm – 28.5 mm
Low and Intermediate Surgical Risk
STS <8 or low or intermediate risk designation by multi-disciplinary heart team
Confirmed by case review board
Key Inclusion and Exclusion Criteria
Notes: 2 patients had surgical valves with 17 mm true ID (below the lower cut-off)

## Slide 6
Patients enrolled: N=100 (2016-2019) at 29 sites
Study exits: N=3
Patient withdrew consent (n=1)
Lacked CMS approval (n=1)
Was denied by insurance (n=1)
5-year follow-up: N= 76
Study exits: N=2
Study exits: N=13
Death (n=11)
Patient withdrew consent (n=2)
Patient withdrew consent (n=2)
All treated: N=97
Valve implanted: N=97
1-year follow-up: N=92
AViV Registry Patient Disposition
Missed 1Y Visit: N=3
Missed 5Y Visit: N=6
Notes: 5-year follow up number of patients includes both true follow up visits and phone vital status checks.

## Slide 7
Age (years) | 67.1 ± 11.7 | COPD | 8.3%
Male | 79.4% | Pulmonary Hypertension | 10.3%
BMI (kg/m2) | 29.8 ± 6.2 | Creatinine > 2mg/dL | 2.1%
BSA (m2) | 2.1 ± 0.3 | Frailty (overall; > 2/4+) | 0%
STS Score | 2.9 ± 1.8 | Atrial Fibrillation | 32.0%
NYHA Class III or IV | 43.3% | Prior Pacemaker | 10.3%
Coronary Artery Disease | 23.7% | LBBB | 12.4%
Prior CABG | 18.9% | RBBB | 17.5%
Prior CVA/stroke | 4.1% | Mean Gradient (mmHg) | 39.1 ± 18.2
Peripheral Vascular Disease | 7.2% | Aortic Valve Area (cm2) | 1.1 ± 0.5
Diabetes | 20.6% | LVEF (%) | 59.4 ± 10.6
% or mean ± SD
Baseline and Echo Characteristics (N=97)

## Slide 8
Months from Procedure
30
20
10
0
0
12
24
36
48
60
P3 AViV
97
94
93
86
81
75
No. at risk:
Death or Stroke (%)
2.1%
3.1%
9.4%
13.7%
14.7%
Death or Stroke
Notes: Key slide, excellent result even when compared to Partner 3 main.

## Slide 9
Months from Procedure
30
20
10
0
0
12
24
36
48
60
P3 AViV
97
96
95
89
86
85
No. at risk:
All-Cause Death (%)
0.0%
1.0%
7.3%
10.4%
11.5%
All-Cause Death
Notes: Speaker notes:
All deaths occurred beyond 1 year

## Slide 10
Cause of death | 0-1 Year | 1-5 Years (total number of deaths = 11)
Cardiovascular | 0 | 8
Heart failure | 0 | 1
Cardiac arrest | 0 | 1
Ventricular arrhythmia | 0 | 1
Endocarditis | 0 | 1
Unknown | 0 | 4
Non-cardiovascular | 0 | 3
Sepsis | 0 | 1
Renal | 0 | 1
Infection | 0 | 1
Cause of Death Through 5 Years

## Slide 11
Months from Procedure
30
20
10
0
0
12
24
36
48
60
P3 AViV
97
94
93
86
81
75
No. at risk:
Stroke (%)
2.1%
2.1%
3.2%
5.4%
5.4%
Stroke

## Slide 12
Months from Procedure
30
20
10
0
0
12
24
36
48
60
P3 AViV
97
94
93
86
83
77
No. at risk:
Disabling Stroke (%)
2.1%
2.1%
3.2%
3.2%
3.2%
Disabling Stroke

## Slide 13
30
20
10
0
0
12
24
36
48
60
P3 AViV
97
88
85
77
73
65
No. at risk:
Rehospitalization (%)
12.4%
16.7%
18.9%
21.2%
Months from Procedure
9.3%
Rehospitalization
*Includes valve-procedure-or heart failure hospitalization

## Slide 14
Months from Procedure
30
20
10
0
0
12
24
36
48
60
P3 AViV
97
90
86
81
77
69
No. at risk:
Aortic Valve Reintervention (%)
6.2%
9.4%
9.4%
11.6%
14.0%
Aortic Valve Reintervention

## Slide 15
Aortic Valve Reintervention Causes and Types
Chart: 
| Stenosis/Elevated gradient | ≥Moderate PVR | ≥Moderate Transvalvular AR | Endocarditis
Surgical explant | 4 | 2 | 1 | 2
BAV | 2 | 1 | 0 | 0
PVR closure | 0 | 1 | 0 | 0
ViV | 0 | 0 | 1 | 0
Number of Events
**
* 2 thrombosis (1 subclinical, 1 clinical), 3 PPM, 1 Unknown cause
**One patient had unsuccessful BAV for moderate PVR and subsequent explant
ViV
BAV
PVR closure
Surgical explant
Notes: At 5 years: 10 total thrombosis cases, 2 clinically significant
Stenosis / elevated gradient case breakdown:
PPM: 3
Unknown: 1
Thrombosis: 2 (1 clinically significant, 1 sub clinical)

## Slide 16
Death and Aortic Valve Reintervention
by Surgical Valve True ID
17-21 mm
22-23 mm
24-27 mm
Chart: 
| AVR | Death
17-21mm | 17.5 | 17.5
22-23mm | 14.8148 | 11.1111
24-27mm | 0.1 | 4.3478
AV Reintervention
Death
Patients with Event (%)
7/40
4/27
0/23
7/40
3/27
1/23
* 7 homografts, 2/7 required reintervention with no deaths

## Slide 17
Chart: Time from Index Procedure (months)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
Mean gradient (mmHg) | 39.1 | 22.5 | 19.6 | 19.5 | 18 | 17.5 | 17.6
Effective orifice area (cm2) | 1.1 | 1.3 | 1.4 | 1.4 | 1.5 | 1.5 | 1.6
Mean Gradient
95
94
87
71
66
64
52
Effective Orifice Area
92
92
82
65
60
62
50
No. of Echos:
P < 0.0001 from baseline to 5 years for both parameters
Mean Gradient (mmHg)
Effective Orifice Area (cm2)
50
40
30
20
10
0
12
24
36
48
60
0
1
2.0
1.5
1.0
0.5
0.0
Mean Gradient and EOA

## Slide 18
Chart: 
| Baseline | 1 Year | 5 Years
None/Trace | 29.5 | 90.9 | 94.2
Mild | 29.5 | 8 | 5.8
Moderate | 31.6 | 1.1 | 0
Severe | 9.5 | 0 | 0
% of Patients
60
40
20
0
Baseline
N=95
1 Year
N=88
5 Years
N=52
80
100
Severe
Moderate
Mild
None/Trace
29.5
29.5
31.6
9.5
90.9
8.0
1.1
94.2
5.8
Total Aortic Regurgitation

## Slide 19: NYHA Class
Chart: 
| Baseline | 1 Year | 5 Years
Class I | 0 | 75.8 | 70
Class II | 56.7 | 19.8 | 26.7
Class III | 42.3 | 4.4 | 1.7
Class IV | 1 | 0 | 1.7
% of Patients
60
40
20
0
Baseline
N=97
1 Year
N=91
5 Years
N=60
80
100
Class IV
Class III
Class II
Class I
56.7
42.3
1.0
75.8
19.8
4.4
70.0
26.7
1.7*
1.7
* Class III at baseline, increased to Class IV at 5 years

## Slide 20: KCCQ Score
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
Y-Values | 60.7 | 85.9 | 87.8 | 87.3 | 89.7 | 87.9 | 87.5
Mean KCCQ Score
12
24
36
48
60
0
1
Months from Procedure
60.7
85.9
87.8
87.3
89.7
87.9
87.5
P3 AViV
94
86
77
75
68
60
No. of Assessments:
94
∆ from baseline
+ 24.8
p <0.0001
90
100
80
70
60
0
10
Notes: If someone asks: Change from baseline + 24.8 is different from 87.5-60.7=26.8 because change from baseline only includes the (59) patients that had BOTH a baseline assessment and a 5-year follow-up (while each visit displays the average of all KCCQ outcomes for that particular visit). [One patient with a lower than average KCCQ score at 5 years did not have a baseline measurement, so is not included in the change from baseline calculation].

## Slide 21
Study Limitations
Single-arm registry, no randomized comparator arm
The majority of enrolled patients were male
Post-surgical mean gradients not consistently available
Lower echocardiogram follow-up rates at 5 years (67.1%), partially due to COVID-19

## Slide 22: Conclusions
In low- and intermediate-risk patients with a failing surgical bioprosthetic valve,
AViV with the SAPIEN 3 THV demonstrated at 5 years:
  Low mortality and stroke rates
  Sustained hemodynamic improvement
  AV reintervention rate higher than THV in native valve
    Associated with the size of the index surgical prosthesis
    Mortality and stroke rates are comparable to native TAVR despite higher aortic valve reintervention rates
  Sustained functional status and quality-of-life improvement
Patients will be followed out to 10 years